## Sheet1
Sample Lighting Inventory - CLC Training Grid
Light Ref # & Location | Photo | Function / Fixture Type | Quantity | Watts | Lamp Type | Color Temp | Lumens | Principle #1: Useful | Principle #2: Targeted / Shielded | Principle #3: Brightness Level | Principle #4: Controls | Principle #5: Color Temp | Special Purpose / < 500 lumens | Retrofit Action | Complies with LMP?
Home stead1 |  | Historical fixture by walkway / Pole light | 1 | N/A | N/A | N/A | N/A | N/A | Unshielded | N/A | No Power; The electrical cables were removed years ago. | N/A | N | None needed | Yes
Home stead2 |  | Porch lighting / Wall Sconce | 4 | 75 | Incan | 2700K | 450 | Yes | Unshielded | Okay | Used nightly, turned off by 9:00 pm | 2700K | Y | None | Yes
Home stead3 |  | Lighting around perimeter of the home / RAB FFLED | 12 | 230 | LED | 5100K | 2429 | Questionable | Unshielded |  | Dusk to Dawn | 5100K | N | Replace with fully shielded fixtures with warm light source. | No
Home stead4 |  | Illumination of flags / Spot | 2 | 84 | LED | 5000K | 2748 | Yes | Unshielded - mostly straight up to flag. | Reduce lumens | Dusk to Dawn | 5000K | N | We will replace with 3000 K, reduced lumens, solar powered down lighting to just illuminate the flags. | No
Home stead5 |  | Porch lighting / Recessed ceiling fixtures | 4 | 60 | Incan | 2700K | 950 | Yes | Shielded (flush with ceiling) | Could be reduced | Manual switch used a couple of hours per day | 2700K | N |  | Yes
Home stead6 |  | Safety lighting for the crew / spot light | 2 | 100 | Incan | 2700K | 1100 | Yes | Unshielded spot | Appropriate | Manual switch | 2700K | N | Replacing fixtures & using warm CFLs | No
Home stead7 |  | Safety under driveway canopy / ceiling mount | 5 | 13 | CFL | 2700K | 950 | Yes | Shielded fully under canopy | Could be reduced | Manual switch used for the crew each morning. | 2700K | N |  | Yes
Pool House1 |  | Illuminate outdoor porch area / Moroccan Lantern | 2 | 5 | CFL | 2700K | 280 | Somewhat | Bulb is Shielded (encased fully in the fixture) but the fixture glows gently. | Very low at 280 lumens | Manual switch | 2700K | Y | Leave historical fixtures in place. Continue to document specs for low output warm bulb. | Yes